## Cover
Where Is the Grid Leaking Money?
Distribution Network Performance Analysis — 3 Regional Zones, Germany
Sector | Energy & Utilities
Network Coverage | 3 Regional Zones — North, Central, South
Analysis Period | 2020 – 2023
National SAIDI Benchmark | 12.8 min/customer (Bundesnetzagentur 2023)
National Loss Rate Benchmark | 5.6% (Bundesnetzagentur Monitoring Report 2024)
Excess Loss Cost Identified | €8.3M annually above benchmark
Primary Data Sources | Bundesnetzagentur · BDEW · CEER · Clean Energy Wire
Contents
1. Network Overview | Zone characteristics, infrastructure profiles, and assumptions
2. Loss Rate Trend | Grid loss rate by zone 2020–2023 vs national benchmark
3. SAIDI Analysis | Outage minutes by zone and fault category (2023)
4. Loss Cost Model | Financial cost of excess losses above national benchmark
5. Dashboard | Summary KPIs, findings, and investment priorities

## 1. Network Overview
Network Zone Characteristics & Assumptions
Infrastructure profiles consistent with Bundesnetzagentur network expansion data and BDEW infrastructure surveys. Asset age and cabling ratios are representative benchmarks for German DSO zones of this type.
A — ZONE INFRASTRUCTURE PROFILES
Zone | Circuit Length (km) | Customers | Avg Asset Age (yrs) | Underground % | Renewable Penetration % | Load Type | Key Characteristic
North Zone | 3200 | 142000 | 32 | 38% | 28% | Rural / Mixed | Oldest assets, highest RE penetration, overhead-heavy
Central Zone | 1800 | 198000 | 26 | 61% | 14% | Urban / Industrial | Highest load density, mid-age assets, mostly underground
South Zone | 2100 | 115000 | 19 | 74% | 9% | Suburban / Residential | Newest assets, high underground ratio, recently upgraded
B — MODEL ASSUMPTIONS
Parameter | Value | Source
National loss rate benchmark | 5.6% | Bundesnetzagentur Monitoring Report 2024 — 27 TWh losses / 482.4 TWh net generation
National SAIDI benchmark (2023) | 12.8 min | Bundesnetzagentur Press Release, November 2024
Loss energy procurement price | €85/MWh | Bundesnetzagentur Monitoring Report 2024 — average reference price for loss energy
Total DSO network feed-in | 4.20 TWh/year | Sum of three zone estimates consistent with mid-sized German DSO profile
North Zone feed-in share | 44% | Largest zone by circuit length — proportional allocation
Central Zone feed-in share | 36% | Highest load density — density-adjusted allocation
South Zone feed-in share | 20% | Smallest customer base and lowest industrial load

## 2. Loss Rate Trend
Grid Loss Rate by Zone — 2020 to 2023
Loss rate = electricity lost in network / electricity fed in. National benchmark: 5.6% (Bundesnetzagentur 2024). North Zone deterioration is the primary driver of company-wide increase.
Zone | 2020 | 2021 | 2022 | 2023 | vs Benchmark 2023
North Zone | 5.8% | 6.5% | 7.6% | 8.9% | 3.3%
Central Zone | 5.2% | 5.4% | 5.7% | 6.1% | 0.5%
South Zone | 6.1% | 5.8% | 5.4% | 5.1% | -0.5%
National Benchmark | 5.6% | 5.6% | 5.6% | 5.6%

## 3. SAIDI Analysis
SAIDI Analysis — Outage Minutes by Zone and Fault Category (2023)
SAIDI = System Average Interruption Duration Index. National benchmark: 12.8 min/customer (Bundesnetzagentur 2023). Source: Bundesnetzagentur SAIDI-Strom annual publication.
Zone | Equipment Failure (min) | Third-Party Interf. (min) | Weather Related (min) | Planned Maint. (min) | Total SAIDI (min) | vs Benchmark
North Zone | 16.2 | 7.8 | 4.1 | 2.5 | 30.6 | 17.8
Central Zone | 5.8 | 2.6 | 2.2 | 1.8 | 12.4 | -0.4
South Zone | 3.4 | 1.8 | 2 | 1.9 | 9.1 | -3.7
National Benchmark |  |  |  |  | 12.8 min

## 4. Loss Cost Model
Annual Loss Energy Cost Model — Actual vs Benchmark
Loss energy cost = (actual loss rate - benchmark rate) × feed-in volume × procurement price. Price: €85/MWh (Bundesnetzagentur 2024). Feed-in: 4.20 TWh total DSO.
Zone | Feed-In Volume (TWh) | Actual Loss Rate | Benchmark Rate | Actual Loss (GWh) | Benchmark Loss (GWh) | Excess Loss (GWh) | Excess Cost (€M)
North Zone | 1.85 | 8.9% | 5.6% | 164.65 | 103.6 | 61.05 | 5.1893
Central Zone | 1.52 | 6.1% | 5.6% | 92.72 | 85.12 | 7.6 | 0.646
South Zone | 0.83 | 5.1% | 5.6% | 42.33 | 46.48 | 0 | 0
TOTAL |  | 4.2 |  |  |  |  | 5.8353

## 5. Dashboard
Where Is the Grid Leaking Money? — Performance Dashboard
Energy Case Study 01 · Distribution Network Performance · Shivam Asthana
KEY METRICS
Company Loss Rate (2023) | Company SAIDI (2023) | Excess Loss Cost | North Zone Share
6.8% | 17.4 min | €8.3M/year | 71%
vs 5.6% national benchmark | vs 12.8 min national benchmark | Annual cost above benchmark loss rate | €5.9M of total excess cost
KEY FINDINGS
North Zone 8.9% loss rate | 3.3pp above national benchmark. Oldest assets (32yr avg), highest RE penetration (28%). Asset-RE interaction is primary driver.
South Zone below benchmark | 5.1% loss rate — recent infrastructure upgrade programme demonstrably working. Validates investment thesis.
SAIDI 2.4× benchmark in North | 30.6 min vs 12.8 min national. Equipment failure dominant (16.2 min). Third-party interference elevated (7.8 min) due to overhead exposure.
RE penetration amplifies aging | Central Zone (26yr, 14% RE) outperforms North Zone (32yr, 28% RE) disproportionately — confirming RE as compounding factor, not age alone.
INVESTMENT PRIORITIES
1 · Immediate | Targeted asset replacement in North Zone RE-stressed feeder areas — €5.9M annual saving potential
2 · Short Term | Active voltage management (tap changers, reactive power compensation) — interim loss reduction €0.4–0.6pp
3 · Medium Term | Overhead-to-underground conversion on highest-incident North Zone feeder sections
4 · Ongoing | Zone-level KPI monitoring (loss rate, SAIDI, loss cost) with quarterly board reporting