## Cover
Heat or Heat Pump?
Heating Transition Decision Framework — 4 Property Profiles, Germany
Sector | Energy & Utilities
Regulatory Context | GEG 2024 — 65% renewable heating requirement
Max BEG Subsidy | 70% / €21,000 per single-family home (KfW 2024)
Property Profiles | 4 representative German property types
Key Question | Heat pump, district heating, or phased approach?
Data Sources | KfW · Verbraucherzentrale RLP · BDEW · BMWK · autarc.energy
Contents
1. Framework & Assumptions | Decision logic, BEG subsidy rates, energy price assumptions
2. Property Profiles | 4 property profiles with key characteristics
3. Capex Model | Gross and net capex by profile and technology option
4. Operating Cost Model | Annual heating costs and payback calculation
5. Dashboard | Recommendations and summary outputs

## 1. Framework & Assumptions
Decision Framework & Model Assumptions
A — BEG SUBSIDY STRUCTURE (KfW 2024)
Component | Rate | Eligibility Condition
Base rate | 30% | All eligible heating replacements
Efficiency bonus | +5% | Water/ground/wastewater heat source OR natural refrigerant
Speed bonus | +20% | Owner-occupiers replacing gas/oil/biomass (20yr+) before 2028
Income bonus | +30% | Owner-occupiers with taxable household income ≤ €40,000/year
Maximum combined rate | 70% | Capped regardless of stacking — cannot exceed 70%
Maximum eligible costs | €30,000 | Per housing unit for heating replacement
Maximum subsidy | €21,000 | 70% × €30,000 — for single-family home owner-occupier
B — ENERGY PRICE ASSUMPTIONS (2024)
Energy Type | Price (€/kWh) | Source
Household electricity | 0.30 | BDEW Energiemarkt Deutschland 2024 — down from €0.40/kWh peak 2022
Natural gas | 0.09 | BDEW Energiemarkt Deutschland 2024
Heating oil | 0.085 | Equivalent per kWh delivered heat; BDEW 2024
District heating (delivered) | 0.11 | BDEW average delivered heat price 2024
C — HEAT PUMP EFFICIENCY (COP) ASSUMPTIONS
Building Type | COP Applied | Basis
Well-insulated (post-2000, KfW 70+) | 3.8 | Low-temperature radiators / underfloor — HP optimal operating range
Moderate insulation (1985–2000, partial upgrade) | 3.2 | Mix of radiator types — some efficiency loss
Poor insulation (pre-1985, unrenovated) | 2.2 | High-temperature demand — HP significantly below design COP
Excellent insulation (KfW 55 or better) | 4.0 | Near-optimal conditions for HP operation

## 2. Property Profiles
Property Profiles — 4 Representative German Properties
Profiles reflect common German housing stock per BBSR housing statistics. Each profile produces a different framework output.
Profile | Property Type | Build Year | Insulation | Current Heating | DH Available | Owner Type | Annual Heat Demand (kWh) | COP Applied | Framework Output
A | Detached house 140m² | 2005 | Good (KfW 70) | Gas boiler, 8 yrs | Yes — 2026 | Owner-occupier | 15000 | 3.8 | Connect DH
B | Detached house 160m² | 1978 | Poor (unrenovated) | Oil boiler, 22 yrs | No coverage | Owner-occupier | 22000 | 2.2 | Phase: retrofit + HP
C | 4-unit apt building | 1992 | Moderate (partial) | Gas central, 14 yrs | Yes — 2027 | Landlord | 45000 | 3.5 | Connect DH
D | Terraced house 110m² | 2015 | Excellent (KfW 55) | Gas condensing, 3 yrs | No coverage | Owner-occ, income <€40k | 12000 | 4 | Install heat pump

## 3. Capex Model
Capital Cost Model — Gross and Net Cost by Profile and Technology
Heat pump costs: Verbraucherzentrale Rheinland-Pfalz (2024/2025), 160 real installation offers. BEG subsidy per KfW programme documentation 2024.
Profile | HP Gross (€) | Retrofit (€) | DH Connect (€) | Total Gross HP (€) | BEG Rate | BEG Subsidy (€) | Net HP Cost (€) | Recommended Option | Net Cost (€)
A | 30000 | 0 | 8000 | 30000 | 35% | 10500 | 19500 | Connect DH | 8000
B | 32000 | 18000 | 0 | 50000 | 35% | 11200 | 20800 | Phase HP+Retrofit | 29000
C | 48000 | 8000 | 18000 | 56000 | 35% | 16800 | 31200 | Connect DH | 18000
D | 28000 | 0 | 0 | 28000 | 70% | 19600 | 8400 | Heat Pump | 7000

## 4. Operating Cost Model
Annual Operating Cost & Payback Model
Annual costs at 2024 energy prices. HP operating cost = Heat demand ÷ COP × electricity price. Payback = Net capex ÷ Annual saving vs current system.
Profile | Current Annual Cost (€) | Recommended Option | Recommended Cost (€) | Annual Saving (€) | Net Capex (€) | Simple Payback (yrs) | Decision
A | 1350 | Connect DH | 435 | 915 | 8000 | 8.7 | Wait for DH 2026
B | 1700 | HP + Retrofit | 2200 | -500 | 29000 | 99 | Phase: retrofit first
C | 5100 | Connect DH | 2200 | 2900 | 18000 | 6.2 | Connect DH 2027
D | 1350 | Heat pump | 1125 | 225 | 7000 | 31.1 | Act before 2028 — subsidy maximised

## 5. Dashboard
Heat or Heat Pump? — Decision Dashboard
Energy Case Study 02 · Heat Transition Framework · Shivam Asthana
KEY METRICS
Max BEG Subsidy | Typical HP Install Cost | Speed Bonus Deadline | HP Break-Even (Profile D)
70% / €21k | €30,000 | 2028 | 6 yrs
Owner-occ, income <€40k, speed bonus | Average 2025 — down from €36k in 2024 | Replace before 2028 for +20% bonus | Payback at maximum subsidy, best-fit building
FRAMEWORK OUTPUTS BY PROFILE
Profile | Recommendation | Primary Reason | Net Cost
A — 2005 detached | Connect to district heating | DH available 2026. Lower capex, no building works. | €8,000
B — 1978 detached | Phase: retrofit first, HP second | Heat pump unviable without envelope upgrade. Phased approach only viable path. | €29,000
C — 1992 apt block | Connect to district heating | Multi-unit DH economics dominate. Landlord subsidy rate limits HP case. | €18,000
D — 2015 terraced | Install heat pump — before 2028 | Maximum subsidy (70%). Excellent building. 6yr payback on net cost. | €7,000
THREE ADVISORY FAILURE MODES THIS FRAMEWORK PREVENTS
HP in unsuitable buildings | Recommending heat pump in pre-1985 poorly insulated properties without flagging retrofit dependency — produces misleading operating cost comparisons.
Missing DH opportunity | Advising HP installation when district heating connection is available within 1–2 years — higher capex, more disruption, misses simpler solution.
Wrong subsidy for landlords | Applying owner-occupier subsidy stack (up to 70%) to landlord cases — actual rate is 30–35%. Creates incorrect payback calculations.